## PORT
CSV Header | SMFRSDTE | SMFRSTME | SMFRSSID | SMFRSIDT | SMFRSITM | SMFRSETM | SMFRSINT | SMFRSSYN | SMFRSMDL | SMFRSMIC | SMFRSSSI | SMFRSSN |  | RRS5POID | RRS5APID | RRS5WWN | RRS5LTYP | RRS5LADR | RRS5ERCS | RRS5EWCS | RRS5ERTS | RRS5EWTS | RRS5ERCB | RRS5EWCB | RRS5ERTB | RRS5EWTB | RRS5ERCT | RRS5EWCT | RRS5ERTT | RRS5EWTT | RRS5ERCO | RRS5EWCO
Metric Definition | SMF*RECORD*DATE*STAMP | SMF*RECORD*TIME*STAMP | SUBSYSTEM*IDENTIFICATION | [6 empty] | STORAGE*SYSTEM*MICROCODE*VERSION | SUBSYSTEM*IDENTIFICATION | STORAGE*SYSTEM*SERIAL*NUMBER |  | HITACHI PORT ID | ADAPTER*ID | WWN | LINK*TYPE | LINK*ADDRESS | ECKD READ*CMD MODE*SSCH | ECKD WRITE*CMD MODE*SSCH | ECKD READ*XPORT MODE*SSCH | ECKD WRITE*XPORT MODE*SSCH | ECKD READ*CMD MODE*BYTES | ECKD WRITE*CMD MODE*BYTES | ECKD READ*XPORT MODE*BYTES | ECKD WRITE*XPORT MODE*BYTES | ECKD READ*CMD MODE*TIME | ECKD WRITE*CMD MODE*TIME | ECKD READ*XPORT MODE*TIME | ECKD WRITE*XPORT MODE*TIME | ECKD READ*CCW OPS | ECKD WRITE*CCW OPS
Sample Data | 20210219 | 10:15 | DV04 | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | STC | 33241 |  | 3 | 60 | 50060E800881D960 | 0 | 00FFFFFD | 6028 | 1210 | 422 | 136842 | 188 | 110 | 40 | 14777 | 11 | 4 | 3 | 816 | 2050 | 107320
| 20210219 | 10:15 | DV04 | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | STC | 30856 |  | 3 | 60 | 50060E8008788860 | 0 | 00FFFFFD | 199959 | 28153 | 1071261 | 247202 | 3620 | 922 | 217788 | 31070 | 419 | 158 | 6167 | 768 | 720674 | 182028
Iris Schema/attributes for resource mfPort | Refer Tab - CommonHeader | [11 empty] | name (Storage-PortID) | portID | adapterID | wwn | linkType | linkAddress | cmdReadSSCH | cmdWriteSSCH | xportReadSSCH | xportWriteSSCH | cmdReadTrensfer | cmdWriteTrensfer | xportReadTrensfer | xportWriteTrensfer | cmdReadResponseTime | cmdWriteResponseTime | xportReadResponseTime | xportWriteResponseTime | ccwRead | ccwWrite
UOM | [18 empty] | Count | Count | Count | Count | Mbytes (MB) | Mbytes (MB) | Mbytes (MB) | Mbytes (MB) | milliseconds (ms) | milliseconds (ms) | milliseconds (ms) | milliseconds (ms) | Count | Count
Description from MAR guide | Date (in the form of 0cyydddF) when the record was moved to the SMF buffer. c is 0 for 19xx, and 1 for 20xx, yy is the current year (0-99), ddd is the current day (in 1-366), and F is a sign. | Time since midnight (in hundredths of a second) when the record was moved to the SMF buffer. | System identification | Interval start date (in the same format as SMFRSDTE: 0cyydddF). | Interval start time (time since midnight, in hundredths of a second). | Time from when the record was output in the previous interval (in hundredths of a second). | Value of INTVAL used in the interval. | Value of SYNCVAL used in the interval. | Storage system model identifier. | Storage system microcode version. | Subsystem identification. | Storage system serial number. |  | Internal port ID. Port ID of the storage system. | Adapter ID. Channel adapter ID of the storage system (SAID). | WWN. Internal World Wide Name of the port of the storage system. | Attribute specified for the port. ■ 0: MF Target | Link address. | Number of times SSCH occurs during read I/O operations in command mode.# | Number of times SSCH occurs during write I/O operations in command mode.# | Number of times SSCH occurs during read I/O operations in transport mode.# | Number of times SSCH occurs during write I/O operations in transport mode.# | Number of bytes (in units of 128 KB) used by read I/O operations in command mode.# | Number of bytes (in units of 128 KB) used by write I/O operations in command mode.# | Number of bytes (in units of 128 KB) used by read I/O operations in transport mode.# | Number of bytes (in units of 128 KB) used by write I/O operations in transport mode.# | Response time (in units of 16 milliseconds) required for read I/O operations in command mode.# | Response time (in units of 16 milliseconds) required for write I/O operations in command mode.# | Response time (in units of 16 milliseconds) required for read I/O operations in transport mode.# | Response time (in units of 16 milliseconds) required for write I/O operations in transport mode.# | Number of CCW and TCW processes in read I/O operations.# | Number of CCW and TCW processes in write I/O operations.#

## CLPR
CSV Header | SMFRSDTE | SMFRSTME | SMFRSSID | SMFRSSSI | SMFRSIDT | SMFRSITM | SMFRSETM | SMFRSINT | SMFRSSYN | SMFRSMDL | SMFRSMIC | SMFRSSN |  | RRS3MPID | RRS3CLID | RRS3CLNM | RRS3CCUR | RRS3CWPU | RRS3CFPU | RRS3CSFU | RRS3CRRO | RRS3CRRH | RRS3CRWO | RRS3CRWH | RRS3CSRO | RRS3CSRH | RRS3CSWO | RRS3CSWH | RRS3CFRH | RRS3CFWO | RRS3CFRO | RRS3CFWH | RRS3CSOD | RRS3CNOD | RRS3CNOC | RRS3CNBD | RRS3CNBC
Metric Definition | SMF*RECORD*DATE*STAMP | SMF*RECORD*TIME*STAMP | SUBSYSTEM*IDENTIFICATION | SUBSYSTEM*IDENTIFICATION | [6 empty] | STORAGE*SYSTEM*MICROCODE*VERSION | STORAGE*SYSTEM*SERIAL*NUMBER |  | MP*BLADE*ID | CLPR*NUMBER | CLPR*NAME | CLPR*CACHE*USAGE*PERCENT | CLPR*CACHE*USAGE PCT*WRITE PENDING | CLPR*CACHE*USAGE PCT*CFW PENDING | CLPR*CACHE*USAGE PCT*SIDE FILE | CLPR HOST*RANDOM READ*OPERATIONS | CLPR HOST*RANDOM*READ*HITS | CLPR HOST*RANDOM WRITE*OPERATIONS | CLPR HOST*RANDOM*WRITE*DFW HITS | CLPR HOST*SEQUENTIAL READ*OPERATIONS | CLPR HOST*SEQUENTIAL*READ*HITS |  | CLPR HOST*SEQUENTIAL WRITE*HITS | CLPR HOST*CACHE*FAST WRITE*READ HITS | CLPR HOST*CACHE*FAST WRITE*OPERATIONS | CLPR HOST*CACHE*FAST Read*OPERATIONS | CLPR HOST*CACHE*FAST WRITE*HITS | CLPR SEQ*TRACKS*DISK TO CACHE | CLPR RANDOM*TRACKS*DISK TO CACHE | CLPR TRACKS*CACHE TO DISK | CLPR DATA*DISK TO CACHE*BYTES | CLPR*DATA*CACHE TO DISK*BYTES
Sample Data | 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 30856 |  | 1 | 0 | CLPR0 | 99 | 1 | 0 | 0 | 7000536 | 6795635 | 757252 | 738519 | 2117443 | 2095392 | 679546 | 679528 | 3857 | 6746 | 0 | 0 | 6886497 | 139059 | 4596963 | 46269 | 20412
| 20210219 | 10:30 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 30856 |  | 1 | 0 | CLPR0 | 99 | 1 | 0 | 0 | 8433374 | 8280092 | 960049 | 928576 | 2954899 | 2921496 | 180622 | 180611 | 934 | 1111 | 0 | 0 | 7201725 | 141820 | 4541200 | 56381 | 15975
Iris Schema for mfMpbClpr (MPB-CLPR) | Refer Tab - CommonHeader | [11 empty] | name (Storage-MPID-CLPRNo.) | mpID | clprNumber | clprName | utilization | writePendingUsage | CFWPendingUsage | sideFileUsage | randomReads | randomReadHitCount | randomWrites | randomWriteHitCount | sequentialReads | sequentialReadHitCount | sequentialWrites | sequentialWriteHitCount | cfwReadHitCount | cfWrites | cfReads | cfwHitCount | SeqTracksDtoC | RandomTracksDrToCh | CLPRTracksChToDr | DataTransferDrtoCh | DataTransferChtoDr
Iris Schema for mfClpr (CLPR) | [13 empty] | NA | clprNumber | name (Storage-CLPRName) | Avg ( utilization of all MPs ) | Average | Average | Average | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum | Sum
UOM | [16 empty] | % | % | % | % | Count | Count | Count | Count | Count | Count | Count | Count | Count | Count |  | Count | Count | Count | Count | Mbytes | Mbytes
Description from MAR guide | Date (in the form of 0cyydddF) when the record was moved to the SMF buffer. | Time since midnight (in hundredths of a second) when the record was moved to the SMF buffer. | System identification | Subsystem identification | Interval start date (in the same format as SMFRSDTE: 0cyydddF). | Interval start time (time since midnight, in hundredths of a second). | Time from when the record was output in the previous interval (in hundredths of a second). | Value of INTVAL used in the interval. | Value of SYNCVAL used in the interval. | Storage system model identifier. | Storage system microcode version. | Storage system serial number. |  | ID of the MP blade or MP unit. | CLPR number. | Name of CLPR. | Of the CLPR memory allocated to the MPB or MPU, the percentage (%) that is actually being used.#1 | Of the CLPR memory allocated to the MPB or MPU, the percentage (%) used by data waiting to be written.#1 | Of the CLPR memory allocated to the MPB or MPU, the percentage (%) used by data waiting to be written by Cache Fast Write.#1 | Of the CLPR memory allocated to the MPB or MPU, the percentage (%) used by side files.#1 | Number of random read I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of cache hits of random read I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of random write I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of cache hits of random write I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of sequential read I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of cache hits of sequential read I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of sequential write I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of cache hits of sequential write I/O operations using the CLPR allocated to this MPB or MPU.#2 | Number of cache hits of CFW read operations using the CLPR allocated to this MPB or MPU.#2 | Number of CFW operations using the CLPR allocated to this MPB or MPU.#2 | Number of CFW read operations using the CLPR allocated to this MPB.#2 | Number of cache hits of CFW operations using the CLPR allocated to this MPB or MPU.#2 | Number of sequential data transfers from the drive to the cache by using the CLPR allocated to this MPB or MPU.#2,#3 | Number of normal data transfers from the drive to the cache by using the CLPR allocated to this MPB or MPU.#2, #3 | Number of data transfers from the cache to the drive by using the CLPR allocated to this MPB or MPU.#2, #3 | Amount of data (in units of 128 KB) transferred from the drive to the cache by using the CLPR allocated to this MPB or MPU.#2, #4 | Amount of data (in units of 128 KB) transferred from the cache to the drive by using the CLPR allocated to this MPB or MPU.#2, #4

## LDEV
CSV Header | SMFRSDTE | SMFRSTME | SMFRSSID | SMFRSSSI | SMFRSIDT | SMFRSITM | SMFRSETM | SMFRSINT | SMFRSSYN | SMFRSMDL | SMFRSSN | SMFRSMIC |  | LDEVIDLDKC:RRS2CU:RRS2CCAÙ | RRS2CU | RRS2CCA | RRS2SSID | RRS2DEVN | RRS2VSN | RRS2STOR | RRS2CYL | RRS2SCS | RRS2DVN | RRS2TYPE | RRS2CLID | RRS2MPID | RRS2PLID | RRS2PGRP | RRS2PSUB | RRS2EMUT | RRS2DTOD | RRS2BR | RRS2BRH | RRS2BW | RRS2BWH | RRS2SR | RRS2SRH | RRS2SW | RRS2SWH | RRS2CFR | RRS2CFRH | RRS2CFW | RRS2CFWH | RRS2STRK | RRS2OTRK | RRS2CTRK | RRS2RTRD | RRS2RTWR
Metric Definition | SMF*RECORD*DATE*STAMP | SMF*RECORD*TIME*STAMP | SUBSYSTEM*IDENTIFICATION | SUBSYSTEM*IDENTIFICATION |  | MEASUREMENT*INTERVAL*START TIME | TIME*SINCE*PREVIOUS*RECORD | VALUE OF*INTVAL*OPERAND | VALUE OF*SYNCVAL*OPERAND | STORAGE*MODEL*IDENTIFIER | STORAGE*SYSTEM*SERIAL*NUMBER | STORAGE*SYSTEM*MICROCODE*VERSION |  |  | CU*NUMBER | LDEV*NUMBER*CCA |  |  | VOLUME SERIAL NUMBER | STORAGE*GROUP*NAME | VOLUME*CAPACITY*CYL | SUBCHANNEL*SET*IE | DEVICE*NUMBER | LDEV TYPE | ASSIGNED*CLPR*NUMBER | ASSIGNED*MPB*NUMBER | POOL*ID | PARITY*GROUP*NUMBER | PARITY*GROUP SUB NUMBER |  | TIME WHEN*STORAGE*RECEIVED*HOST REQUEST | RANDOM*READ*I/O COUNT | RANDOM*READ*CACHE HIT*I/O COUNT | RANDOM*WRITE*I/O COUNT | RANDOM*WRITE*CACHE HIT*I/O COUNT | SEQUENTIAL*READ*I/O COUNT | SEQUENTIAL*READ*CACHE HIT*I/O COUNT | SEQUENTIAL*WRITE*I/O COUNT | SEQUENTIAL*WRITE*CACHE HIT*I/O COUNT | CFW*READ*I/O COUNT | CFW*READ*CACHE HIT*I/OCOUNT | CFW*WRITE*I/O COUNT | CFW*WRITE*CACHE HIT*I/O COUNT | TRACKS*SEQUENTIAL*FROM DISK*TO CACHE | TRACKS*NON-SEQUENTIAL*FROM DISK*TO CACHE | TRACKS*TRANSFERRED*FROM CACHE*TO DISK
Sample Data | 20220804 | 0:30 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 10 | 80-06-77/20 |  | 0:00 | 0 | 0 | 8400 | E300 | GHE300 |  | 262668 | 0 | 58112 | MF DP-Vol | 0 | 0 | 0 | 0 | 0 | 3390-A | 20220804 06:23:47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Iris Schema for mfLdev | Refer Tab - CommonHeader | [11 empty] | name (Storage-ldevID) | ldevID | cuNumber | ldevNumber | ssid | deviceNumber | volumeNumber | storageGroup | volumeCapacity | subchannelSetID | binaryDeviceNumber | ldevType | clprId | mpb | poolId | parityNumber | paritySubnumber | emulationType | timestamp | randomReads | randomReadCacheHit | randomWrites | randomWriteCacheHit | sequentialReads | sequentialReadCacheHit | sequentialWrites | sequentialWriteCacheHit | cfwReads | cfwReadCacheHit | cfwWrites | cfwWriteCacheHit | sequentialTracksDrToCh | nonsequentialTracksDrToCh | transferredTracksChToDr | readResponseTime | writeResponseTime
UOM | [31 empty] | Count | Count | Count | Count | Count | Count | Count | Count | Count | Count | Count | Count | Count | Count | Count | milliseconds (ms) | milliseconds (ms)
Description from MAR guide | Date (in the form of 0cyydddF) when the record was moved to the SMF buffer. c is 0 for 19xx, and 1 for 20xx, yy is the current year (0-99), ddd is the current day (in 1-366), and F is a sign. | Time since midnight (in hundredths of a second) when the record was moved to the SMF buffer | System identification. | Subsystem identification. | Interval start date (in the same format as SMFRSDTE: 0cyydddF). | Interval start time (time since midnight, in hundredths of a second). | Time from when the record was output in the previous interval (in hundredths of a second). | Value of INTVAL used in the interval. | Value of SYNCVAL used in the interval. | Storage system model identifier. | 50010 | Storage system microcode version. |  |  | CU number. | LDEV number. | Storage subsystem ID (SSID). | Device number. For volumes that have not been scanned, space characters are set. | Volume serial number. For volumes that have not been scanned or were not in the online state during scanning, space characters are set. | SMS storage group name. For volumes that have not been scanned or for which information about the SMS storage group could not be obtained during scanning, space characters are set. | Volume capacity (cylinders). For volumes that have not been scanned, 0 is set. | Subchannel set ID. | Device number. The binary value converted from RRS2DEVN. | LDEV type. Bit 0 1: MF volume Bit 1 1: Volumes of Dynamic Provisioning for Mainframe or Dynamic Tiering for Mainframe Bit 2 1: Pool volume Bit 3 1: External volume Bit 4-7 0000: Reserved | ID of the CLPR assigned to the volume. | ID of the MP blade that has the owner rights of the volume. | Pool ID. This field is valid when the value of bit 1 or bit 2 of RRS2TYPE is 1. | Parity group number of the volume. | Parity group sub-number of the volume. | Emulation type of the volume. • x0091: 3390-1 • x0392: 3390-2 • x0093: 3390-3 • x0393: 3390-3A (3390-3 Rapid Ex MF to Open) • x0193: 3390-3B (3390-3 Rapid Ex Open to MF) • x0493: 3390-3C (3390-3 Rapid Ex MF <=> Open) • x0099: 3390-9 • x0399: 3390-9A (3390-9 Rapid Ex MF to Open) • x0199: 3390-9B (3390-9 Rapid Ex Open to MF) • x0499: 3390-9C (3390-9 Rapid Ex MF <=> Open) • x009F: 3390-L (3390-27) • x039F: 3390-LA (3390-27 Rapid Ex MF to Open) • x019F: 3390-LB (3390-27 Rapid Ex Open to MF) • x049F: 3390-LC (3390-27 Rapid Ex MF <=> Open) • x009E: 3390-M (3390-54) • x039E: 3390-MA (3390-54 Rapid Ex MF to Open) • x019E: 3390-MB (3390-54 Rapid Ex Open to MF) • x049E: 3390-MC (3390-54 Rapid Ex MF <=> Open) • x009A: 3390-A • x009B: 3390-V (Pool Volume)#1 | Time when the record information was obtained (in total number of seconds since Jan 1, 1970). | Number of random read I/O operations. | Number of cache hits of random read I/O operations | Number of random write I/O operations | Number of cache hits of random write I/O operations. | Number of sequential read I/O operations. | Number of cache hits of sequential read I/O operations. | Number of sequential write I/O operations. | Number of cache hits of sequential write I/O operations | Number of CFW (Cache Fast Write) read I/O operations. | Number of cache hits of CFW (Cache Fast Write) read I/O operations. | Number of CFW (Cache Fast Write) write I/O operations. | Number of cache hits of CFW (Cache Fast Write) write I/O operations. | Number of tracks loaded from the drive to the cache by sequential access | Number of tracks loaded from the drive to the cache by methods other than sequential access. | Number of tracks destaged from the cache to the drive. | Integrated value (in units of 16 milliseconds) of the response time for read I/O operations. | Integrated value (in units of 16 milliseconds) of the response time for write I/O operations.

## MPB
CSV Header | SMFRSDTE | SMFRSTME | SMFRSSID | SMFRSSSI | SMFRSIDT | SMFRSITM | SMFRSETM | SMFRSINT | SMFRSSYN | SMFRSMDL | SMFRSMIC | SMFRSSN |  | RRS3MPID | RRS3MPNM | RRS3MUR | RRS3MUOT | RRS3MUOI | RRS3MUOE | RRS3MUMT | RRS3MUMI | RRS3MUBE | RRS3MURO
Metric Definition | SMF*RECORD*DATE*STAMP | SMF*RECORD*TIME*STAMP | SUBSYSTEM*IDENTIFICATION | SUBSYSTEM*IDENTIFICATION | [6 empty] | STORAGE*SYSTEM*MICROCODE*VERSION | STORAGE*SYSTEM*SERIAL*NUMBER |  | MP*BLADE*ID | MP*BLADE | MPB*USAGE PCT*TOTAL | MPB*USAGE PCT*OPEN-TARGET PORT | MPB*USAGE PCT*OPEN-INITIATOR PORT | MPB*USAGE PCT*OPEN-EXTERNAL PORT | MPB*USAGE PCT*MF TARGET PORT | MPB*USAGE PCT*MF INITIATOR PORT | MPB*USAGE PCT*BACKEND | MPB*USAGE PCT*OTHER THAN PORTS*BACKEND
Sample Data | 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 30856 |  | 0 | 10 | 23 | 0 | 1 | 0 | 13 | 0 | 5 | 3
| 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 30856 |  | 1 | 20 | 21 | 0 | 1 | 0 | 13 | 0 | 4 | 3
Iris Schema for mfMPB | Refer Tab - CommonHeader | [11 empty] | name (Storage-mpName) | mpID | mpName | utilizaion | otPortUtilization | oiPortUtilization | oePortUtilization | mftPortUtilization | mfiPortUtilization | dkaUtilization | asyncUtilization
UOM | [15 empty] | % | % | % | % | % | % | % | %
Description from MAR guide | Date (in the form of 0cyydddF) when the record was moved to the SMF buffer. | Time since midnight (in hundredths of a second) when the record was moved to the SMF buffer. | System identification | Subsystem identification. | Interval start date (in the same format as SMFRSDTE: 0cyydddF). | Interval start time (time since midnight, in hundredths of a second). | Time from when the record was output in the previous interval (in hundredths of a second). | Value of INTVAL used in the interval. | Value of SYNCVAL used in the interval. | Storage system model identifier. | Storage system microcode version. | Storage system serial number. |  | ID of the MP blade or MP unit. | Name of the MP blade or MP unit. | Rate of MPB or MPU usage (in hundredths of a percent).# | Rate of MPB or MPU usage by Open Target operations (in hundredths of a percent).# | Rate of MPB or MPU usage by Open Initiator operations (in hundredths of a percent).# | Rate of MPB or MPU usage by Open External operations (in hundredths of a percent).# | Rate of MPB or MPU usage by MF Target operations (in hundredths of a percent).# | Rate of MPB or MPU usage by MF Initiator operations (in hundredths of a percent).# | Rate of MPB or MPU usage by DKA operations (in hundredths of a percent).# | Rate of MPB or MPU usage by asynchronous operations other than port or DKA operations (in hundredths of a percent).# MPB section Appendix

## MPRANK20
CSV Header | SMFRSDTE | SMFRSTME | SMFRSSID | SMFRSSSI | SMFRSIDT | SMFRSITM | SMFRSETM | SMFRSINT | SMFRSSYN | SMFRSMDL | SMFRSMIC | SMFRSSN | RRS6MPB | RRS6MP | RRS6RPTY | RRS6ROWN | RRS6RUR | RRS6RID
Metric Definition | SMF*RECORD*DATE*STAMP | SMF*RECORD*TIME*STAMP | SUBSYSTEM*IDENTIFICATION | SUBSYSTEM*IDENTIFICATION | [6 empty] | STORAGE*SYSTEM*MICROCODE*VERSION | STORAGE*SYSTEM*SERIAL*NUMBER | MP*BLADE*ID | MP*SEQUENTIAL*NUMBER*IN BLADE | PROCESSING*TYPE | PROCESSING*TYPE | MP*USAGE*PERCENTAGE*FOR RESOURCE | RESOURCE*ID
Sample Data | 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 33241 | 0 | 0 | MF Target | LDEV | 80 | 19307
| 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 33241 | 0 | 0 | Open Target | LDEV | 55 | 19307
| 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 33241 | 0 | 0 | DKA | LDEV | 24 | 9217
| 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 30856 | 0 | 0 | Open Initiator | LDEV | 16 | 19307
| 20210219 | 11:00 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | 33241 | 0 | 0 | Asynchronous | LDEV | 154 | 6518
Iris Schema for | Refer Tab - CommonHeader | [15 empty] | ldevMPBUtilization (Average of all the MPs)
UOM | [16 empty] | %
| Date (in the form of 0cyydddF) when the record was moved to the SMF buffer. | Time since midnight (in hundredths of a second) when the record was moved to the SMF buffer. | System identification | Subsystem identification. | Interval start date (in the same format as SMFRSDTE: 0cyydddF). | Interval start time (time since midnight, in hundredths of a second). | Time from when the record was output in the previous interval (in hundredths of a second). | Value of INTVAL used in the interval. | Value of SYNCVAL used in the interval. | Storage system model identifier. | Storage system microcode version. | Storage system serial number. | ID of the MP blade or MP unit. | MP sequential number in the MP blade or MP unit. | Process type. ■ 0: Open Target processes ■ 1: Open Initiator processes ■ 2: Open External processes | Type of owner rights for this resource. ■ 0: LDEV ■ 1: Journal group ■ 2: External device 6 | Operating rate (average rate over approximately the most recent five seconds) of the MP for this resource. | Resource ID. ■ LDEV ID when 0 is set for RRS6ROWN ■ Journal group ID when 1 is set for RRS6ROWN ■ External RAID group number when 2 is set for RRS6ROWN

## PGRP
CSV Header | SMFRSDTE | SMFRSTME | SMFRSSID | SMFRSSSI | SMFRSIDT | SMFRSITM | SMFRSETM | SMFRSINT | SMFRSSYN | SMFRSMDL | SMFRSMIC | SMFRSSN |  | RRS4PGID | RRS4PGSC | RRS4PSID | RRS4CLID | RRS4TYPE | RRS4MDEL | RRS4RLVL | RRS4PLID | RRS4BEMU | RRS4SODC | RRS4RODC | RRS4NOCD | RRS4NBDC | RRS4NBCD | RRS4NTDC | RRS4NTCD
Metric Definition | SMF*RECORD*DATE*STAMP | SMF*RECORD*TIME*STAMP | SUBSYSTEM*IDENTIFICATION | SUBSYSTEM*IDENTIFICATION | [6 empty] | STORAGE*SYSTEM*MICROCODE*VERSION | STORAGE*SYSTEM*SERIAL*NUMBER |  | PARITY*GROUP*NUMBER |  | PARITY*GROUP*SUB NUMBER | ASSIGNED*CLPR*NUMBER | PARITY*GROUP*TYPE | DISK*MODEL | RAID*LEVEL | POOL*ID | BASE*EMULATION*TYPE OF*PARITY GROUP | SEQ DATA*XFER OPS*DISK TO CACHE | RANDOM DATA*XFER OPS*DISK TO CACHE | NORMAL DATA*XFER OPS*CACHE TO DISK | NORMAL XFER*DISK TO CACHE*BYTES | NORMAL XFER*CACHE TO DISK*BYTES | BUSYTIME*NORM DATA*XFEROPS*DISK TO CACHE | BUSYTIME*NORM DATA*XFEROPS*CACHE TO DISK
Sample Data | 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 |  | 33241 |  | 1 | 0 | 1 | 0 | 10000001 | SLB5H-M15RSS | 2 | 0 | 009B | 4584 | 125 | 7777616 | 362601 | 4252561 | 32479 | 152234
| 20210219 | 10:15 | DV04 | STC | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 |  | 30856 |  | 1 | 0 | 1 | 0 | 10000001 | SLB5H-M15RSS | 2 | 0 | 009B | 15315118 | 847452 | 7921915 | 7847060 | 4226595 | 324570 | 213410
Iris Schema for mfPG | Refer Tab - CommonHeader | [11 empty] | name | pgID |  | pgSubnumber | clprNumber | pgType | diskModel | raidLevel | poolId | baseEmulationtype | sequentialTracksDrToCh | randomTracksDrToCh | normalTracksChToDr | dataTransferDrToCh | dataTransferChToDr | busyTimeDrToCh | busyTimeChToDr
UOM | [22 empty] | Count | Count | Count | Mbytes (MB) | Mbytes (MB) | milliseconds (ms) | milliseconds (ms)
Description from MAR guide | Date (in the form of 0cyydddF) when the record was moved to the SMF buffer. | Time since midnight (in hundredths of a second) when the record was moved to the SMF buffer. | System identification | Subsystem identification. | Interval start date (in the same format as SMFRSDTE: 0cyydddF). | Interval start time (time since midnight, in hundredths of a second). | Time from when the record was output in the previous interval (in hundredths of a second). | Value of INTVAL used in the interval. | Value of SYNCVAL used in the interval. | Storage system model identifier. | Storage system microcode version. | Storage system serial number. |  | Parity group number.#4 |  | Parity group sub-number.#4 | CLPR number assigned to the parity group. | Parity group type. Bit: Meaning ■ 0: Internal parity group ■ 1-6: Reserved ■ 7: Parity group for pool volumes | Model names of the drives that make up the parity group. | RAID level of the parity group. ■ 0: RAID1 ■ 1: RAID5 ■ 2: RAID6 | Pool ID of the pool volume that belongs to the parity group. | Base emulation type. ■ x0093: 3390-3 ■ x0393: 3390-3A (3390-3 Rapid Ex MF to Open) ■ x0193: 3390-3B (3390-3 Rapid Ex Open to MF) ■ x0493: 3390-3C (3390-3 Rapid Ex MF <=> Open) ■ x0099: 3390-9 ■ x0399: 3390-9A (3390-9 Rapid Ex MF to Open) ■ x0199: 3390-9B (3390-9 Rapid Ex Open to MF) ■ x0499: 3390-9C (3390-9 Rapid Ex MF <=> Open) ■ x009F: 3390-L (3390-27) ■ x039F: 3390-LA (3390-27 Rapid Ex MF to Open) ■ x019F: 3390-LB (3390-27 Rapid Ex Open to MF) ■ x049F: 3390-LC (3390-27 Rapid Ex MF <=> Open) ■ x009E: 3390-M (3390-54) ■ x039E: 3390-MA (3390-54 Rapid Ex MF to Open) ■ x019E: 3390-MB (3390-54 Rapid Ex Open to MF) ■ x049E: 3390-MC (3390-54 Rapid Ex MF <=> Open) ■ x009A: 3390-A ■ x009B: 3390-V (Pool Volume) | Number of tracks transferred by sequential data transfer from the drives that make up this parity group to the cache.#1, #2 | Number of tracks transferred by random data transfer from the drives that make up this parity group to the cache.#1, #2 | Number of tracks transferred from the cache to the drives that make up this parity group.#1, #2 | Amount of data (in units of 128 KB) transferred from the drives that make up this parity group to the cache.#1, #3 | Amount of data (in units of 128 KB) transferred from the cache to the drives that make up this parity group.#1, #3 | Amount of time (in units of 16 milliseconds) required to transfer data from the drives that make up this parity group to the cache.#1 | Amount of time (in units of 16 milliseconds) required to transfer data from the cache to the drives that make up this parity group.#1

## CommonHeader
CSV Header | SMFRSDTE | SMFRSTME | SMFRSSID | SMFRSIDT | SMFRSITM | SMFRSETM | SMFRSINT | SMFRSSYN | SMFRSMDL | SMFRSMIC | SMFRSSSI | SMFRSSN
Metric Definition | SMF*RECORD*DATE*STAMP | SMF*RECORD*TIME*STAMP | SUBSYSTEM*IDENTIFICATION | [6 empty] | STORAGE*SYSTEM*MICROCODE*VERSION | SUBSYSTEM*IDENTIFICATION | STORAGE*SYSTEM*SERIAL*NUMBER
Sample Data | 20210219 | 10:15 | DV04 | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | STC | 33241
| 20210219 | 10:15 | DV04 | 20220804 | 0:00 | 0:30 | 30 | 0 | G1000/G1500/F1500 | 80-06-77/20 | STC | 30856
Iris Schema | dateTime (startTime and endTime) |  | mfHost | [5 empty] | storageModel | microcodeVersion | subsystemID | mfStorage
Description from MAR guide | Date (in the form of 0cyydddF) when the record was moved to the SMF buffer. | Time since midnight (in hundredths of a second) when the record was moved to the SMF buffer. | System identification | Time from when the record was output in the previous interval (in hundredths of a second). | Interval start date (in the same format as SMFRSDTE: 0cyydddF). | Interval start time (time since midnight, in hundredths of a second). | Value of INTVAL used in the interval. | Value of SYNCVAL used in the interval. | Storage system model identifier. | Storage system microcode version. | Subsystem identification | Storage system serial number.